{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":48,"n_cols":12,"rows_kept":48,"merged":[[0,0,0,11]],"flags":["formulas_cached_only"]}
["国网岳阳供电公司公用输配电线路电力设施保护区公示表(第一批)"]
["序号","电压等级","线路名称","线路长度","线路起点","线路终点","运维单位","电力设施保护联系人","途径县市（区）","途径乡镇村组","边线延伸距离（米）","保护范围"]
[1,"35kV","君广线",22.2,"君山区柳林洲镇","君山区广兴洲镇","国网君山区供电公司","陈锋\n13873010968","/","君山区\n五星村、畔湖村、建新监狱\n南洲村、团湖村、合兴村",10,"导线边线向外侧延伸10米并垂直于地面所形成的两平行面内的区域"]
[2,"35kV","钱良线",14.75,"君山区钱粮湖镇","君山区良心堡镇","岳阳市君山区供电公司","陈锋\n13873010968","/","君山区钱粮湖镇\n百花居委会、丰收村\n团结村、天星村",10,"导线边线向外侧延伸10米并垂直于地面所形成的两平行面内的区域"]
[3,"35kV","钱采线",7.1,"君山区钱粮湖镇","君山区采桑湖镇","岳阳市君山区供电公司","陈锋\n13873010968","/","君山区钱粮湖镇\n百花居委会、横沟村\n马颈河村、二门闸村",10,"导线边线向外侧延伸10米并垂直于地面所形成的两平行面内的区域"]
[4,"35kV","许采线",14.8,"君山区许市镇","君山区采桑湖镇","岳阳市君山区供电公司","陈锋\n13873010968","/","君山区许市镇\n烟墩堡村、笼门垱村\n黄泥湖村、三分店村、先锋村",10,"导线边线向外侧延伸10米并垂直于地面所形成的两平行面内的区域"]
[5,"10kV","君山变312君桥Ⅰ线",20.3578,"君山区柳林洲镇","松湖居委会","国网君山区供电公司","陈锋\n13873010968","/","君山区柳林洲镇\n望城居委会、坪塅村、南庙村、横墩村、松湖居委会",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[6,"10kV","君山变314君桥Ⅱ线",38.5338,"君山区柳林洲镇","景明居委会","国网君山区供电公司","陈锋\n13873010968","/","景明居委会、芦苇场、松湖居委会、林阁佬居委会、合众领岛",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[7,"10kV","君山变354君五线",22.2028,"君山区柳林洲镇","永城村","国网君山区供电公司","陈锋\n13873010968","/","新洲村、双五村、永城村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[8,"10kV","钱粮湖变326钱和线",34.1732,"君山区钱粮湖镇","君山区钱粮湖镇西北湖村","国网君山区供电公司","杨春\n13762015201","/","西北湖村、东北湖渔场、托龙山居委会",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[9,"10kV","钱粮湖变324钱东Ⅱ线",47.2667,"君山区钱粮湖镇","君山区钱粮湖镇马颈河村","国网君山区供电公司","张伟\n15347300055","/","天星洲村、丰收村、马颈河村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[10,"10kV","钱粮湖变322钱东Ⅰ线",8.6717,"君山区钱粮湖镇","君山区钱粮湖镇牛奶湖村","国网君山区供电公司","代静武\n18974047380","/","雅园居委会、百花社区、牛奶湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[11,"10kV","许市变302许黄线",64.8629,"君山区许市镇","洪水港居委会","国网君山区供电公司","刘子翱\n17773021595","/","崇庆村，许家牌村，黄金村，柿树岭村，铺子嘴村，洪水港居委会",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[12,"10kV","钱粮湖变306钱油线",5.7817,"君山区钱粮湖镇","君山区钱粮湖镇雅园居委会","国网君山区供电公司","代静武\n18974047380","/","雅园居委会、朝阳居委会、百花社区",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[13,"10kV","钱粮湖变304钱团线",18.6602,"君山区钱粮湖镇","君山区钱粮湖镇团洲村","国网君山区供电公司","严奉兵","/","团洲村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[14,"10kV","良心堡变312良刘线",21.0667,"君山区良心堡","君山区良心堡镇福星村","国网君山区供电公司","孟庆林\n13974062359","/","福星村、檀树村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[15,"10kV","良心堡变304良仁线",43.4735,"君山区良心堡","君山区良心堡镇维新村","国网君山区供电公司","刘兵\n13762797599","/","维新村、团结村、七星湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[16,"10kV","良心堡变306良集线",5.5357,"君山区良心堡","君山区良心堡镇福华居委会","国网君山区供电公司","刘兵\n13762797599","/","福华居委会、仁义社区",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[17,"10kV","许市变304许肖线",78.9082,"君山区许市镇","横山岭居委会","国网君山区供电公司","刘子翱\n17773021595","/","横山岭居委会，高新村，凉亭村，金盆村，崇庆村，许家牌村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[18,"10kV","君山变322君荆线",19.1353,"君山区柳林洲镇","岳华村","国网君山区供电公司","吴江燕\n13873029769","/","新洲村、五星村、岳华村、三家店",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[19,"10kV","君山变326君林Ⅱ线",32.2897,"君山区柳林洲镇","二洲子村","国网君山区供电公司","汤伟\n13973015907","/","二洲子村、上反嘴、景明居委会、林角居委会、挂口村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[20,"10kV","良心堡变314良福线",36.4971,"君山区良心堡","君山区良心堡镇望君洲村","国网君山区供电公司","孟庆林\n13974062359","/","檀树村、黄泥岗村、望君洲村、悦来村、杨蔸湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[21,"10kV","良心堡变316良黄线",10.3327,"君山区良心堡","君山区良心堡镇七星湖村","国网君山区供电公司","胡家明\n15897304558","/","檀树村、七星湖村、悦来村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[22,"10kV","采桑湖变312采古线",31.5521,"君山区采桑湖","君山区钱粮湖镇古月湖村","国网君山区供电公司","陈元利","/","六门闸居委会、古月湖村、两门闸村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[23,"10kV","采桑湖变314采望线",34.509,"君山区采桑湖","君山区钱粮湖镇","国网君山区供电公司","胡家明\n15897304558","/","马颈河村、高桥村、望君洲村、黄泥岗村、丰收村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[24,"10kV","君山变352君纸线",34.2511,"君山区柳林洲镇","松湖居委会","国网君山区供电公司","曹宇\n13107201525","/","濠河村、松湖居委会、渔业集团",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[25,"10kV","君山变324君柳Ⅱ线",12.146,"君山区柳林洲镇","黄泥套村","国网君山区供电公司","余伟新\n18273050088","/","挂口村、自成垸居委会、黄泥套村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[26,"10kV","广兴洲变336广洪线",25.1088,"君山区广兴洲镇","洪水港村","国网君山区供电公司","付勇","/","联合村，保庆村，洪市村，洪水港村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[27,"10kV","广兴洲变328广荷线",36.5147,"君山区广兴洲镇","团湖村","国网君山区供电公司","刘子翱\n17773021595","/","永明村，六支渠村，团湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[28,"10kV","采桑湖变318采罐线",8.9776,"君山区采桑湖","君山区钱粮湖镇六门闸居委会","国网君山区供电公司","严奉兵","/","六门闸居委会、牛奶湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[29,"10kV","广兴洲变334广熊线",34.5893,"君山区广兴洲镇","黄安村","国网君山区供电公司","张岳新\n18692119006","/","胜利村，沿江村，六支渠村，黄安村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[30,"10kV","采桑湖变324采大线",26.8725,"君山区采桑湖","君山区钱粮湖镇银杯居委会","国网君山区供电公司","陈元利","/","银杯居委会、观音村、六门闸居委会、采桑湖渔场",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[31,"10kV","广兴洲变338广康线",34.8685,"君山区广兴洲镇","团湖公园","国网君山区供电公司","吴先明\n19173081682","/","联合村，殷家铺村，柿树岭村，殷家铺渔场，团湖公园",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[32,"10kV","广兴洲变332广潭线",16.8203,"君山区广兴洲镇","保庆村","国网君山区供电公司","张岳新\n18692119006","/","街北居委会，沿江村，保庆村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[33,"10kV","采桑湖变328采文线",41.5085,"君山区采桑湖","君山区钱粮湖镇文家湾村","国网君山区供电公司","严奉兵","/","乾隆村、文家湾村、三角闸村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[34,"10kV","君山变306君柳Ⅰ线",18.4188,"君山区柳林洲镇","自成垸居委会","国网君山区供电公司","余伟新\n18273050088","/","挂口村、自成垸居委会、黄泥套村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[35,"10kV","采桑湖变306采层线",1.2643,"君山区采桑湖","君山区钱粮湖镇","国网君山区供电公司","陈元利","/","牛奶湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[36,"10kV","君山变332君园线",25.2719,"君山区柳林洲镇","君山公园","国网君山区供电公司","曹宇\n13107201525","/","濠河村、松湖居委会、渔业集团、旅游路居委会",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[37,"10kV","君山变334君挂线",25.4396,"君山区柳林洲镇","君山区绿色产业园","国网君山区供电公司","吴江燕\n13873029769","/","挂口居委会、岳华村、三家店村、五星村、君山区工业园",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[38,"10kV","钱粮湖变316钱层线",19.444,"君山区钱粮湖镇","君山区钱粮湖镇","国网君山区供电公司","代静武\n18974047380","/","雅园居委会、朝阳居委会、百花社区、牛奶湖村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[39,"10kV","墨山变362墨肖线",39.7085,"华容县墨山村","高新村","国网君山区供电公司","徐德凡\n13762096696","/","烟墩村，凉亭村，高新村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[40,"10kV","君山变336君望线",22.3458,"君山区柳林洲镇","渔业集团","国网君山区供电公司","陈锋\n13873010968","/","西城居委会、坪塅村、望城居委会、双元村、濠河村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[41,"10kV","君山变338君岳线",11.2381,"君山区柳林洲镇","君山区绿色产业园","国网君山区供电公司","吴江燕\n13873029769","/","新洲村、五星村、岳华村、三家店",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[42,"10kV","君山变346君博线",5.257,"君山区柳林洲镇","洞庭博物馆","国网君山区供电公司","曹宇\n13107201525","/","濠河村、松湖居委会、渔业集团",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[43,"10kV","君山变308君林Ⅰ线",11.2327,"君山区柳林洲镇","挂口居委会","国网君山区供电公司","汤伟\n13973015907","/","挂口居委会、挂口村",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[44,"10kV","君山变342君瓦线",34.4158,"君山区柳林洲镇","瓦湾村","国网君山区供电公司","余伟新\n18273050088","/","瓦湾村、五星村、星河村、挂口村、芦花洲、长沟子、渔业集团、芦苇场",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[45,"10kV","墨山变356墨大线",42.583,"华容县墨山村","君山区钱粮湖镇银杯社区","国网君山区供电公司","白伟成\n19376978280","/","墨山村、银杯社区、采桑湖渔场",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]
[46,"10kV","君山变344君福线",8.1432,"君山区柳林洲镇","挂口居委会","国网君山区供电公司","汤伟\n13973015907","/","挂口居委会",5,"导线边线向外侧延伸5米并垂直于地面所形成的两平行面内的区域"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}