{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":8,"n_cols":12,"rows_kept":8,"merged":[[0,0,0,11],[1,0,2,0],[1,1,2,1],[1,2,1,4],[1,5,2,5],[1,6,2,6],[1,7,2,7],[1,8,1,10],[1,11,2,11],[6,0,7,0],[6,1,7,1],[6,2,7,2],[6,3,7,3],[6,4,7,4],[6,5,7,5]]}
["君山区农村供水人口千人以上集中式饮用水水源地名录"]
["序号","水源地名称","水源地位置",null,null,"水源地类型","供水工程名称","工程级别","水厂地位置",null,null,"设计供水规模\n（m³/d)"]
[null,null,"县市区","乡镇","村",{"$nulls":3},"县市区","乡镇","村"]
[1,"良心堡镇自来水厂地下水水源地","君山区","良心堡镇","檀树村","地下水","良心堡镇自来水厂","千吨万人农村供水工程","君山区","良心堡镇","檀树村",3000]
[2,"钱粮湖镇牛奶湖水厂地下水水源地","君山区\n\n","钱粮湖镇\n\n","牛奶湖村\n\n","地下水","钱粮湖镇牛奶湖\n自来水有限公司","千吨万人农村供水工程","君山区","钱粮湖镇\n\n","牛奶湖村\n\n",4100]
[3,"钱粮湖镇兴达水厂地下水饮用水水源地","君山区\n\n","钱粮湖镇\n\n","马颈河村\n\n","地下水","钱粮湖镇兴达\n自来水厂","千吨万人农村供水工程","君山区","钱粮湖镇\n\n","马颈河村\n\n",10000]
[4,"君山长江潭子坑水源地","君山区\n\n","广兴洲镇","保庆村\n\n","河道","许市自来水有限公司","千吨万人农村供水工程","君山区","许市镇","黄金村",3200]
[{"$nulls":6},"君山区广兴洲自来水厂","千吨万人农村供水工程","君山区","广兴洲镇\n\n","胜利村",4695]